# Annual Drinking Water Quality Report for 2024

# Village of Hudson Falls & Town of Fort Edward Water District #1

# 220 Main Street, Hudson Falls, NY 12839

# Public Water Supply Identification Numbers NY5700123 & NY5730027

###### Introduction

To comply with State regulations, the Village of Hudson Falls will be annually issuing a report describing the quality of your drinking water. The purpose of this report is to raise your understanding of drinking water and awareness of the need to protect our drinking water sources.  We purchase our water from the Town of Queensbury. This report is an overview of last year’s water quality.  Included are details about where your water comes from, what it contains, and how it compares to New York State standards. Our constant goal is and always has been, to provide to you a safe and dependable supply of drinking water.  We want you to understand the efforts we make to continually improve the water treatment process and to protect our water resources. If you have any questions concerning this report or concerning your drinking water please contact: Mr. Mike Fiorillo, Superintendent of Public Works, Village of Hudson Falls, 220 Main Street, Hudson Falls, NY 12839; Telephone (518) 747-4544. We want our valued customers to be informed about their water service. If you want to learn more, please attend any of our regularly scheduled Village Board meetings. They are held on the 2nd Monday of each month, 6:00 PM at the Village Hall, 220 Main Street, Hudson Falls, NY 12839; Telephone (518) 747-5426.

Where does our water come from?

The Village of Hudson Falls purchases its water from the Town of Queensbury.  The Queensbury Water District’s source is the Hudson River, a surface water supply that is located at the Sherman Island Dam.   Water is pumped from the river into a complete treatment facility consisting of the following: chemical pretreatment, flocculation, coagulation, sedimentation, pre-chlorination, filtration, post-chlorination and corrosion control.  Licensed operators staff this treatment plant 24 hours a day, 365 days per year.

We continue to add chlorine and fluoride to the water we purchase at our Ferry Street Pumping Station.  Additionally, we add phosphate for corrosion control.  We have two storage tanks in the distribution system that have a combined capacity of 475,000 gallons to meet consumer demand and to provide adequate fire protection.

In general, the sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activities.   Contaminants that may be present in source water include microbial contaminants; inorganic contaminants; pesticides and herbicides; organic chemical contaminants; and radioactive contaminants.  In order to ensure that tap water is safe to drink, the State and EPA prescribe regulations, which limit the amount of certain contaminants in water, provided by public water systems.  The State Health Department’s and the FDA’s regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Source water assessment

The NYS Department of Health has evaluated the Hudson River’s susceptibility to contamination under the Source Water Assessment Program (SWAP), and their findings are summarized in the paragraph below. It is important to stress that these assessments were created using available information and only estimate the potential for source water contamination. Elevated susceptibility ratings do not mean that source water contamination has or will occur for this water supply.  The Queensbury Water District provides treatment and regular monitoring to ensure the water delivered to consumers meets all applicable standards.

Based on documented polychlorinated biphenyl (PCBs) contamination of sediments upstream of the intake, the raw water is tested quarterly for PCBs.  During 2024, PCBs were not detected in source or finished drinking water.  It should also be noted that rivers in general are highly sensitive to microbial contaminants. A copy of the full Source Water Assessment, including a map of the assessment area, is available for review by contacting us at the number provided in this report.

Facts and figures

The Village of Hudson Falls provides water through 2,528 service connections to a population of approximately 7,000 people.  In addition, the Village of Hudson Falls sells water to the Town of Fort Edward Water District #1 through 605 service connections to a population of approximately 1,500 people.  Our average daily demand is 667,965 gallons.  Our single highest day was 1,139,000 gallons. The total water purchased from Queensbury in 2024 was 243,807,067 gallons. The amount of water billed to customers was 216,544,178 gallons while the amount of water accounted for but not billed was 5,463,000 gallons used for Village building, water maim breaks and street cleaning. We determined that 2.2% of the water produced is non-revenue-producing water.  This is water was used for fire fighting purposes, sewer cleaning, hydrant use by Village trucks for street sweeping, road projects, use in Village buildings, water used during flushing and distribution system leaks. There was a higher amount of water accounted for but not billed this year due to the construction projects.  The average annual water bill is approximately $170.00 per year.  Water Rates are as follows: Within the Corporation- Residential Customers First 20,000 gallons $85.00; each 1000 gallons.   For a complete listing of all rates please call the Village office.  The Village is in the third year of replacing all water meter to a radio read system.

Are there contaminants in our drinking water?

In accordance with State regulations, the Village of Hudson Falls routinely monitors your drinking water for numerous contaminants. The Town of Queensbury tests our water for inorganic contaminants, radiological contaminants, nitrate, volatile organic contaminants, and synthetic organic contaminants. We test for lead and copper, haloacetic acids and trihalomethanes. In addition, we test 10 samples for coliform bacteria each month. The table presented below depicts which contaminants were detected in your drinking water. The state allows us to monitor for certain contaminants less than once per year because the concentrations of these contaminants are not expected to vary significantly from year to year.  Some of the data, though representative of the water quality, is more than one year old and is noted. For a listing of the parameters we analyzed that were not detected along with the frequency of testing for compliance with the NYS Sanitary Code, see Appendix A.  The water quality test results for the Town of Queensbury are also included in this report.

It should be noted that all drinking water, including bottled drinking water, may be reasonably expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily pose a health risk.  More information about contaminants and potential health effects can be obtained by calling the EPA’s Safe Drinking Water Hotline (800-426-4791) or the New York State Department of Health Glens Falls District Office at (518) 793-3893.

# What does this information mean?

As you can see by the tables on pages 4 & 5 our system had no violations.   We have learned through our monitoring and testing that some constituents have been detected; however, these compounds were detected below New York State requirements. MCL’s are set at very stringent levels. To understand the possible health effects described for many regulated constituents, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

Is our water system meeting other rules that govern operations?

During 2024, Hudson Falls was in compliance with applicable State drinking water operating and monitoring and reporting requirements.

##### Do i need to take special precautions?

Although our drinking water met or exceeded state and federal regulations, some people may be more vulnerable to disease causing microorganisms or pathogens in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice from their health care provider about their drinking water.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium, Giardia and other microbiological pathogens are available from the Safe Drinking Water Hotline (800-426-4791).

Information on cryptosporidium and giardia

Giardia is a microbial pathogen present in varying concentrations in many surface waters and groundwater under the influence of surface water. Giardia is removed/inactivated through a combination of filtration and disinfection or by disinfection. Through September 2018, as part of our LT2 Enhanced Surface Water Treatment Rule monitoring Hudson River source water samples were collected and analyzed for Giardia cysts. Of these samples, five samples were confirmed positive for Giardia with the average being 5.6. Therefore, our monitoring indicates the presence of Giardia in our source water. Current test methods do not allow us to determine if the organisms are dead or if they are capable of causing disease. Ingestion of Giardia may cause giardiasis, an intestinal illness. People exposed to Giardia may experience mild or severe diarrhea, or in some instances no symptoms at all. Fever is rarely present. Occasionally, some individuals will have chronic diarrhea over several weeks or a month, with significant weight loss. Giardiasis can be treated with anti-parasitic medication. Individuals with weakened immune systems should consult with their health care providers about what steps would best reduce their risks of becoming infected with Giardiasis. Individuals who think that they may have been exposed to Giardiasis should contact their health care providers immediately. The Giardia parasite is passed in the feces of an infected person or animal and may contaminate water or food. Person to person transmission may also occur in day care centers or other settings where handwashing practices are poor.

Cryptosporidium is a microbial pathogen found in surface water and groundwater under the influence of surface water. Although filtration removes Cryptosporidium, the most commonly used filtration methods cannot guarantee 100 percent removal. Through September 2018, as part of our sampling plan, monthly samples of our Hudson River source water were collected and analyzed for Cryptosporidium oocysts.  Of these samples three showed oocysts with the average being 0.3.  Our testing indicates the presence of Cryptosporidium in our source water.  Current test methods do not allow us to determine if the organisms are dead or if they are capable of causing disease.   Ingestion of Cryptosporidium may cause cryptosporidiosis, a gastrointestinal infection. Symptoms of infection include nausea, diarrhea, and abdominal cramps. Most healthy individuals can overcome disease within a few weeks. However, immuno-compromised people are at greater risk of developing life-threatening illness. We encourage immuno-compromised individuals to consult their health care provider regarding appropriate precautions to take to avoid infection.

Information on lead

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. The Village of Hudson Falls is responsible for providing high quality drinking water and removing lead pipes, but cannot control the variety of materials used in plumbing components in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact Mike Fiorillo at Village of Hudson Falls, (518) 747-4544. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at http://www.epa.gov/safewater/lead.

INFORMATION ON LEAD SERVICE LINE INVENTORY

The Lead and Copper Rule Revisions (LCRR) requires every federally defined community and non-transient, non-community water system to develop a service line inventory (also called a lead service line inventory (LSLI)).

A Lead Service Line (LSL) is defined as any portion of pipe that is made of lead which connects the water main to the building inlet. An LSL may be owned by the water system, owned by the property owner, or both. The inventory includes both potable and non-potable SLs within a system. In accordance with the federal Lead and Copper Rule Revisions (LCRR) our system has prepared a lead service line inventory and have made it publicly accessible.

The Village of Hudson Falls distribution system has no lead service lines, 1 galvanized line requiring replacement, or lead status unknown service lines The inventory is viewable at the following website: https://www.health.ny.gov/environmental/water/drinking/service_line/NY5700123.htm

The Town of Ft. Edward WD#1 distribution has no lead service lines.  The inventory is viewable at the following website:https://www.health.ny.gov/environmental/water/drinking/service_line/NY5730027.htm

Information on fluoride

Our system is one of the many drinking water systems in New York State that provides drinking water with a controlled, low level of fluoride for consumer dental health protection. According to the United States Centers for Disease Control, fluoride is very effective in preventing cavities when present in drinking water is optimal at 0.7 mg/l (parts per million).  To ensure that the fluoride supplement in your water provides optimal dental protection, the State Department of Health requires that we monitor fluoride levels on a daily basis. During 2024 monitoring showed that fluoride levels in your water were within 0.2 mg/l of the target level 0.8 mg/l  85% of the time.  None of the monitoring results showed fluoride at levels that approach the 2.2 mg/l MCL for fluoride.

# Water conservation tips

The Village of Hudson Falls encourages water conservation. There are a lot of things you can do to conserve water in your own home. Conservation tips include:

- Only run the dishwasher and clothes washer when there is a full load

- Install faucet aerators in the kitchen and the bathroom to reduce the flow from 4 to 2.5 gallons per minute

- Water gardens and lawn for only a couple of hours after sunset

- Check faucets, pipes and toilets for leaks and repair all leaks promptly

- Take shorter showers

Capital improvements

The following improvements were made to the water system in 2024:

♦  Replaced water meters in 2024

♦  Removed all known lead service lines

♦  Continued to replace galvanized service lines

♦  Continue to replace water meters in 2025

Future projects include:

♦  Water main replacement

♦  Inventory of lead and galvanized water services

# Closing

Thank you for allowing us to continue providing your family with clean, quality water this year.  In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit our customers. We ask that all our customers help us protect our water sources.  Please call our office if you have questions.

| ## TOWN OF FORT EDWARD WD #1 TABLE OF DETECTED CONTAMINANTS Public Water Supply Identification Number NY5730027 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Y/N |  |  | Date of Sample |  | Level Detected |  | Unit Measurement |  | MCLG |  | MCL | Likely Source of Contamination |
| #### Inorganic Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Copper (Range of copper concentrations) |  | N |  |  | 8/24/22-8/25/22 |  | 0.0551 (0.005-0.087) | mg/l |  | 1.3 |  | AL=1.3 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Lead (Range of lead concentrations) |  | N |  |  | 8/24/22-8/25/22 |  | 12 (ND-1.8) | µg/l |  | 0 |  | AL=15 | Corrosion of household plumbing systems and service lines connecting building to water mains, erosion of natural deposits |
| Stage 2 Disinfection Byproducts (Quarterly samples) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haloacetic Acids [mono-, di-, and trichloroacetic acid, and mono- and di-bromoacetic acid](6 Stevens Lane) (Range of values) |  |  | N | 2/7/24 5/1/24 8/7/24 11/6/24 |  | 23.753 (17-24) |  | µg/l | N/A |  | MCL=60 |  | By-product of drinking water disinfection needed to kill harmful organisms. |
| Haloacetic Acids [mono-, di-, and trichloroacetic acid, and mono- and di-bromoacetic acid](1281 Burgoyne Avenue) (Range of values) |  |  | N |  |  | 22.53 (16-21) |  |  |  |  |  |  |  |
| Total Trihalomethanes[TTHMs – chloroform, bromodichloromethane, dibromochloromethane, and bromoform](6 Stevens Lane) (Range of values) |  |  | N |  |  | 71.25 40-98 |  | µg/l | N/A |  | MCL=80 |  | By-product of drinking water chlorination needed to kill harmful organisms. TTHMs are formed when source water contains organic matter. |
| Total Trihalomethanes[TTHMs – chloroform, bromodichloromethane, dibromochloromethane, and bromoform](1281 Burgoyne Avenue) (Range of values) |  |  | N |  |  | 69.75 40-96 |  |  |  |  |  |  |  |
| ### NOTES- 1. The level presented represents the 90th percentile of 0 test sites Ft. Edward WD#1. A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it. The 90th percentile is equal to or greater than 90% of the copper values detected at your water system. In this case, 10 samples were collected at your water system and the 90th percentile value was the 9th sample with 2rd highest value (level detected 0.055 mg/l). The Action Level for copper was not exceeded at any of the sites tested. 2. The level presented represents the 90th percentile of 10 test sites in Ft. Edward WD#1. The action level for lead was not exceeded at any of the 10 sites tested. 3. The average is based on a Locational Running Annual Average (LRAA). The average shown is the highest LRAA for 2024. The highest LRAA for the Haloacetic acids was in the 1st quarter for 6 Stevens Lane and 1281 Burgoyne Avenue. The highest LRAAs for TTHMs was in the 1st quarter for 6 Stevens Lane and 1281 Burgoyne Avenue. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ### VILLAGE OF HUDSON FALLS TABLE OF DETECTED CONTAMINANTS ### Public Water Supply Identification Number NY5700123 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminant | Violation Y/N |  |  | Date of Sample |  | Level Detected |  | Unit Measurement |  | MCLG |  | MCL | Likely Source of Contamination |
| #### Inorganic Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Copper (Range of copper concentrations) |  | N |  |  | 8/9/22-8/12/22 |  | 0.05901 0.0130-0.2140 | µg/l |  | 1.3 |  | AL=1.3 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Lead (Range of lead concentrations) |  | N |  |  | 8/9/22-8/12/22 |  | 3.02 (ND-32.5) | µg/l |  | 0 |  | AL=15 | Corrosion of household plumbing systems and service lines connecting building to water mains, erosion of natural deposits |
| Stage 2 Disinfection Byproducts (Quarterly samples) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Haloacetic Acids [mono-, di-, and trichloroacetic acid, and mono- and di-bromoacetic acid] (11 Kvale Lane) (Range of values) |  | N |  |  | 2/7/24 5/1/24 8/7/24 11/6/24 |  | 17.753 (13.2-19) | µg/l |  | N/A |  | MCL=60 | By-product of drinking water disinfection needed to kill harmful organisms. |
| Haloacetic Acids [mono-, di-, and trichloroacetic acid, and mono- and di-bromoacetic acid] (220 Main Street) (Range of values) |  | N |  |  |  |  | 19.353 (13-19) |  |  |  |  |  |  |
| Total Trihalomethanes[TTHMs – chloroform, bromodichloromethane, dibromochloromethane, and bromoform] (11 Kvale Lane) (Range of values) |  | N |  |  |  |  | 663 (38-91) | µg/l |  | N/A |  | MCL=80 | By-product of drinking water chlorination needed to kill harmful organisms. TTHMs are formed when source water contains organic matter. |
| Total Trihalomethanes[TTHMs – chloroform, bromodichloromethane, dibromochloromethane, and bromoform]) (220 Main Street) Range of values for TTHM |  | N |  |  |  |  | 53.253 (29-73) |  |  |  |  |  |  |
| ### NOTES- 1. The level presented represents the 90th percentile of 20 test sites. A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it. The 90th percentile is equal to or greater than 90% of the copper values detected at your water system. In this case, 20 samples were collected at your water system and the 90th percentile value was the 18th sample with 3rd highest value (level detected 0.0590 mg/l). The Action Level for copper was not exceeded at any of the sites tested. ### 2. The level presented represents the 90th percentile of 20 test sites. The action level for lead was exceeded at one site tested 3. The average is based on a Locational Running Annual Average (LRAA). The average shown is the highest LRAA for 2024. The highest LRAA for the Haloacetic acids was in the 1st quarter for 11 Kvale Lane and 220 Main Street. The highest LRAAs for TTHMs was in the 1st quarter for 11 Kvale Lane and 220 Main Street. |  |  |  |  |  |  |  |  |  |  |  |  |  |

| VILLAGE OF HUDSON FALLS NY5700123 & TOWN OF FORT EDWARD WATER DISTRIC #1 NY5730027 Water purchased from TOWN OF QUEENSBURY NY5600114 TABLE OF DETECTED CONTAMINANTS |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contaminant | Violation Y/N |  | Date of Sample | Level Detected | Unit Measurement |  |  | MCLG |  | MCL | Likely Source of Contamination |
| #### Inorganic Contaminants |  |  |  |  |  |  |  |  |  |  |  |
| Barium | N |  | 2/7/24 | 0.005 |  | mg/l |  | 2 | MCL=2 |  | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Chloride | N |  | 4/6/22 | 8.1 |  | mg/l |  | N/A | MCL=250 |  | Naturally occurring or indicative of road salt contamination |
| Color | N |  | 4/6/22 | 5 |  | Units |  | N/A | MCL=15 |  | Large quantities of organic chemicals, inadequate treatment, high disinfectant demand and the potential for production of excess amounts of disinfectant by- products such as trihalomethanes, the presence of metals such as copper, iron and manganese; Natural color may be caused by decaying leaves, plants, and soil organic matter. |
| Iron | N |  | 4/6/22 | 20 |  | µg/l |  | N/A | MCL=300 |  | Naturally occurring |
| Manganese | N |  | 4/6/22 | 6 |  | µg/l |  | N/A | MCL=300 |  | Naturally occurring; Indicative of landfill contamination. |
| Nitrate | N |  | 2/7/24 | 0.09 |  | mg/l |  | 10 | MCL=10 |  | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Sodium1 | N |  | 2/7/24 5/1/24 | 17.1 16.3 |  | mg/l |  | N/A | (See Health Effects)1 |  | Naturally occurring; Road salt; Water softeners; Animal waste |
| Sulfate | N |  | 4/6/22 | 12.4 |  | mg/l |  | N/A | MCL=250 |  | Naturally occurring. |
| Zinc | N |  | 4/6/22 | 0.004 |  | mg/l |  | N/A | MCL=5 |  | Naturally occurring; Mining waste. |
| Microbiological Contaminants |  |  |  |  |  |  |  |  |  |  |  |
| Turbidity 2 (Highest turbidity) | N |  | 8/12/24 | 0.14 |  | NTU |  | N/A | TT=1 NTU TT=95% of samples <0.3 NTU |  | Soil runoff |
|  | N |  | All 12 Months | 100% |  |  |  |  | TT=95% of samples <0.3 NTU |  |  |
| Total Organic Carbon3 (monthly samples from 2024) |  |  |  |  |  |  |  |  |  |  |  |
| Treated Water (average) Range of values |  | N | Monthly 2024 | 1.7 1.4-2.3 |  | mg/l | N/A |  | TT |  | Naturally present in the environment |
| ### Notes ### 1. Water containing more than 20 ppm should not be consumed by persons on severely restricted sodium diets.2. Turbidity is a measure of the cloudiness of the water. It is monitored because it is a good indicator of the effectiveness of our filtration system. Level detected represents the ### highest-level detected. Our highest single turbidity measurement for the year occurred 8/12/24 (0.14 NTU). State regulations require that entry point turbidity must always ### be below 1.0 NTU. The regulations also require that 95% of the turbidity samples collected have measurements below 0.3 NTU. We met the requirement 100% of the time in 2024. 3. It has been determined that with respect to raw water TOC levels and raw water alkalinity, the Queensbury WTP achieved removals that were well within the acceptable range allowed on their filter effluent. |  |  |  |  |  |  |  |  |  |  |  |

Glossary of Terms:

Non-Detects (ND) - laboratory analysis indicates that the constituent is not present.

Parts per million (ppm) or Milligrams per liter (mg/l) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Parts per billion (ppb) or Micrograms per liter - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Parts per trillion (ppt) (ng/l) corresponds to one part of liquid to one trillion parts of liquid

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Nephelometric Turbidity Unit (NTU) - nephelometric turbidity unit is a measure of the clarity of water. Turbidity in excess of 5 NTU is just noticeable to the average person.

90th Percentile Value- The values reported for lead and copper represent the 90th percentile.  A percentile is a value on a scale of 100 that indicates the percent of a distribution that is equal to or below it.  The 90th percentile is equal to or greater than 90% of the lead and copper values detected at your water system

Action Level (AL) - the concentration of a contaminant, which, if exceeded, triggers treatment, or other requirements, which a water system must follow.

Treatment Technique (TT) - A treatment technique is a required process intended to reduce the level of a contaminant in drinking water.

Maximum Contaminant Level - The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG)- The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contamination. Nephelometric Turbidity Unit (NTU)- A measure of the clarity of Water  Turbidity in excess of 5 NTU is just noticeable to the average person.

Locational Running Annual Average (LRAA) - The LRAA is calculated each quarter by taking the average of the four most recent samples collected at each site

N/A- Not applicable

# Appendix A

New York State Sanitary Code Compliance Monitoring Requirements- Compounds Analyzed that were Below Limits of Detection

| ## ,TOWN OF QUEENSBURY TOWN OF MOREAU RESULTS Public Water Supply Identification Number NY5722361, NY573012 & NY5600114 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CONTAMINANT |  | MONITORING FREQUENCY |  | CONTAMINANT | CONTAMINANT | MONITORING FREQUENCY |
|  |  |  |  | ## POC’s (Volatile Organic Compounds) |  |  |
|  |  |  |  | Benzene | Trans-1,3-Dichloropropene | Monitoring requirement is one sample annually Sample results from 10/2024 NON-DETECT |
|  |  |  |  | Bromobenzene | Ethylbenzene |  |
|  |  |  |  | Bromochloromethane | Hexachlorobutadiene |  |
| Antimony |  | Monitoring requirement is one sample annually Sample results from 2/7/2024 NON-DETECT |  |  |  |  |
|  |  |  |  | Bromoethane | Isopropylbenzene |  |
| Arsenic |  |  |  |  |  |  |
|  |  |  |  | N-Butylbenzene | p-Isopropyltoluene |  |
|  |  |  |  | sec-Butylbenzene | Methylene Chloride |  |
| Beryllium |  |  |  |  |  |  |
|  |  |  |  | Tert-Butylbenzene | n-Propylbenzene |  |
| Cadmium |  |  |  |  |  |  |
|  |  |  |  | Carbon Tetrachloride | Styrene |  |
| Chromium |  |  |  |  |  |  |
|  |  |  |  | Chlorobenzene | 1,1,1,2-Tetrachloroethane |  |
| Mercury |  |  |  |  |  |  |
|  |  |  |  | 2-Chlorotoluene | 1,1,2,2-Tetrachloroethane |  |
| Nickel |  |  |  |  |  |  |
|  |  |  |  | 4-Chlorotoluene | Tetrachloroethene |  |
| Selenium |  |  |  |  |  |  |
|  |  |  |  | Dibromethane | Toluene |  |
| Thallium |  |  |  |  |  |  |
|  |  |  |  | 1,2-Dichlorobenzene | 1,2,3-Trichlorobenzene |  |
| Mercury |  |  |  |  |  |  |
|  |  |  |  | 1,3-Dichlorobenzene | 1,2,4-Trichlorobenzene |  |
| Cyanide |  |  |  |  |  |  |
|  |  |  |  | 1,4-Dichlorobenzene | 1,1,1-Trichloroethane |  |
| Fluoride |  |  |  |  |  |  |
|  |  |  |  | Dichlordifluoromethane | 1,1,2-Trichloroethane |  |
|  |  |  |  | 1,1-Dichloroethane | Trichloroethene |  |
|  |  |  |  | 1,2-Dichloroethane | Trichlorofluoromethane |  |
|  |  |  |  | 1,1 Dichloroethene | 1,2,3-Trichloropropane |  |
| Odor |  | Monitoring requirement is at State discretion Sample results from 2/2/22 NON-DETECT Monthly |  |  |  |  |
|  |  |  |  | cis-1,2 Dichloroethene | 1,2,4-Trimethylbenzene |  |
| Taste |  |  |  |  |  |  |
|  |  |  |  | Trans-1,2-Dichloroethene | 1,3,5-Trimethylbenzene |  |
| Silver |  |  |  |  |  |  |
|  |  |  |  | 1,2 Dichloropropane | m-Xylene |  |
|  |  |  |  | 1,3 Dichloropropane | o- Xylene |  |
|  |  |  |  | 2,2 Dichloropropane | p-Xylene |  |
|  |  |  |  | 1,1 Dichloropropene | Vinyl Chloride |  |
|  |  |  |  | Cis-1,3-Dichloropropene | MTBE |  |
|  |  |  |  | Chloromethane | Chloroethane |  |
| Taste |  |  |  |  |  |  |
| Odor |  |  |  |  |  |  |
| NON-DETECT |  |  |  | Total Coliform & E. coli |  | Monitoring is 7 samples/ month NON-DETECT |
| PFOA | 10/2024 |  |  |  |  |  |
| PFOS |  |  |  |  |  |  |
|  |  |  |  | # Radiological Parameters |  |  |
| 1,4-Dioxane |  |  |  |  |  |  |
|  |  |  |  |  |  | requirement is one sample every six-nine years. NON-DETECT |
| Synthetic Organic Chemicals |  |  |  |  |  |  |
| Synthetic Organic Chemicals (Group I) |  |  |  | Synthetic Organic Chemicals (Group II) |  |  |
| Alachlor | Aldicarb |  |  | Aldrin |  | Monitoring requirement is every 18 months NON-DETECT Sample from 10/2/24 *State waiver does not require monitoring these compounds |
| Aldicarb Sulfoxide | Aldicarb Sulfone |  |  | Butachlor | Carbaryl |  |
| Atrazine | Carbofuran |  |  | Dalapon | Di(2-ethylhexyl)adipate |  |
| Chlordane | Dibromochloropropane |  |  | Di(2-ethylhexyl)pthalate | Dicamba |  |
| 2,4-D | Endrin |  |  | Dieldrin | Dinoseb |  |
| Ethylene Dibromide | Heptachlor |  |  | Diquat* | Endothall* |  |
| Lindane | Methoxyhlor |  |  | Glyphosate* | Hexachlorobenzene |  |
|  | Toxaphene |  |  | Hexachlorocyclopentadiene | 3-Hydroxycarbofuran |  |
| 2,4,5-TP (Silvex) | 1,4-Dioxane |  |  | Methomyl | Metolachlor |  |
| PFOA | PFOS |  |  | Metribuzin | Oxamyl vydate |  |
| Pentachlorophenol | Heptachlor epoxide |  |  | Pichloram | Propachlor |  |
| PCB (3/2024) |  |  |  | Simazine | 2,3,7,8-TCDD (Dioxin)* |  |